Pelco understands that information is critical to success, which is why we are singularly focused on the development of video surveillance and security solutions that provide you the information necessary to make real-time, business-enabling decisions. From the recently introduced VideoXpert video management platform to our industry-leading selection of IP cameras and accessories, Pelco is committed to designing and delivering a broad range of high-quality, IP video security products and systems complemented with an unparalleled level of customer support and services.

For additional information, contact:

# Pelco

# 625 W. Alluvial

# Fresno, CA 93711 USA

# Phone: +1 800 289-9100

# Web: www.pelco.com

# E-mail: sales@pelco.com

ENVIRONMENTAL WEDGE NETWORK CAMERAS

# DIVISION 28 – ELECTRONIC SAFETY AND SECURITY

28 20 00 	Electronic Surveillance

28 23 00 	Video Surveillance

28 23 29	Video Surveillance Remote Devices and Sensors

Notes to Specifier:

1.  Where several alternative parameters or specifications exist, or where, the specifier has the option of inserting text, such choices are presented in <bold text>.

2.  Explanatory notes and comments are presented in colored text.

WEDGE NETWORK CAMERAS

- GENERAL

  - SUMMARY

    - Section includes a network wedge camera with housing.

    - Product – A network wedge camera supporting H.264 High or Main profiles; and MJPEG compression.

## Related Requirements

      - 27 20 00 Data Communications

      - 28 23 13 Video Surveillance Control and Management Systems

      - 28 23 16 Video Surveillance Monitoring and Supervisory Interfaces

      - 28 23 19 Digital Video Recorders and Analog Recording Devices

      - 28 23 23 Video Surveillance Systems Infrastructure

  - REFERENCES

    - Abbreviations

      - AGC - Automatic Gain Control

      - API – Applications Programming Interface

      - ARP – Address Resolution Protocol

      - AWB - Automatic White Balance

      - BLC – Back Light Compensation

      - CBR – Constant Bit Rate

      - CVBR – Constant and Variable Bit Rate

      - DHCP - Dynamic Host Configuration Protocol

      - DNR – Digital Noise Reduction

      - DNS - Domain Name Server

      - EAP – Extensible Authentication Protocol

      - fps - frames per second

      - FTP - File Transfer Protocol

      - GUI – Graphical User Interface

      - HTTP - Hypertext Transfer Protocol

      - HTTPS – Secure Hypertext Transfer Protocol

      - ICMP – Internet Control Message Protocol

      - IGMP - Internet Group Management Protocol

      - IP - Internet Protocol

      - JPEG - Joint Photographic Experts Group

      - LDAP – Lightweight Directory Access Protocol

      - MJPEG - Motion JPEG

      - MPEG - Moving Pictures Experts Group

      - NTP - Network Time Protocol

      - PoE - Power over Ethernet

      - PPPoE - Point-to-Point Protocol over Ethernet

      - QoS – Quality of Service

      - RTP - Real-Time Transport Protocol

      - RTSP - Real-Time Streaming Protocol

      - SMTP - Simple Mail Transfer Protocol

      - SNMP – Simple Network Management Protocol

      - SSH – Secure Shell

      - SSL – Secure Sockets Layer

      - TCP - Transmission Control Protocol

      - UDP - User Datagram Protocol

      - UPnP – Universal Plug and Play

      - VBR – Variable Bit Rate

      - WDR – Wide Dynamic Range

      - VMS - Video Management System

      - WDR – Wide Dynamic Range

    - Reference Standards

      - Network

        - IEEE

          - 802.3 Ethernet Standards

          - 802.1x – Port-based authentication

      - Video

        - ISO / IEC 14496 –10, MPEG-4 Part 10 (ITU H.264)

        - ISO / IEC 10918 – JPEG

        - ONVIF – Profile S, Profile G, and Profile Q

      - Emissions

        - FCC (Class A) – 47 CFR Part 15

        - CE – EN 55022 (Class A), EN 50130-4, EN 60950-1

        - ICES-003, Class A

      - Environmental Models

        - ANSI / IEC 60529 – Degrees of Protection Provided by Enclosures – IP66

        - IK10 (20J) Impact Resistance / IEC62262

        - National Electrical Manufacturers Association, NEMA 250-2003, 4X Enclosure Definition

  - SUBMITTALS

    - Product Data

      - Manufacturer’s printed or electronic data sheets

      - Manufacturer’s installation and operation manuals

      - Warranty documentation

  - QUALIFICATIONS

    - Manufacturer shall have a minimum of five years’ experience in producing IP video equipment.

    - Installers shall be trained and authorized by the Manufacturer to install, integrate, test, and commission the system.

## DELIVERY, STORAGE AND HANDLING

## Deliver the camera in the manufacturer’s original, unopened, undamaged container with identification labels intact.

## Store the camera in a temperature environment protected from mechanical and environmental conditions as designated by the manufacturer.

  - WARRANTY AND SUPPORT

    - Manufacturer shall provide a limited 3-year warranty for the product to be free of defects in material and workmanship.

END OF SECTION

- PRODUCTS

  - EQUIPMENT

    - Manufacturer: 	Pelco

625 W. Alluvial

Fresno, CA 93711 USA

Phone: +1 800 289-99100

Web: www.pelco.com

E-mail: sales@pelco.com

    - Sarix Professional Environmental Wedge Cameras:

MP		Model #	/Description

1 MP		IWP133-1ERS Sarix Pro IR Vandal Resistant Wedge

2 MP		IWP233-1ERS Sarix Pro IR Vandal Resistant Wedge

2 MP		IWP232-1ERS Sarix Pro IR Vandal Resistant Wedge

2 MP		IWP234-1ERS Sarix Pro IR Vandal Resistant Wedge

2 MP		IWP236-1ERS Sarix Pro IR Vandal Resistant Wedge

3 MP		IWP333-1ERS Sarix Pro IR Vandal Resistant Wedge

5 MP		IWP533-1ERS Sarix Pro IR Vandal Resistant Wedge

5 MP		IWP532-1ERS Sarix Pro IR Vandal Resistant Wedge

  - GENERAL DESCRIPTION

    - The network camera system offers three simultaneous video streams with up to 5 MP,

2592 x 1944 resolution

    - The network camera system shall possess the following primary characteristics:

      - H.265, H.264 Main and High profiles; and MJPEG compression

      - Up to 5 megapixels

      - Triple streaming (three independent IP video streams)

      - Day/night operation with IR cut filter

      - True Wide Dynamic Range: Up to 120 dB, per IEC62676

      - IEEE802.3af PoE

      - Pelco Smart Compression Technology

      - Pelco Pro Analytics Suite including Adaptive Motion, Object Counting, Motion Detection, and Camera Sabotage.

      - Multicast capable with unlimited H.264/H.265 viewers

      - Unicast capable with up to 5 simultaneous viewers

      - Local storage via Micro SDHC and SDXC card, 2 TB addressable, 128 GB or more testable

      - Audio input and output

      - IP66/67, Type 4X

  - VIDEO/CAMERA

    - Imaging Device:

Model		Imaging Device		Maximum Resolution

5 MP 		1/2.8-inch 		2592 x 1944 (5 MP)

3 MP 		1/2.8-inch 		2048 x 1536 (3 MP)

2 MP 		1/2.8-inch 		1920 x 1080 (2 MP)

1 MP 		1/2.8-inch 		1280 x 960 (1 MP)

    - Imager Type:  CMOS

    - Electronic Shutter Range: 1/10,000 to 1 sec

    - Minimum illumination:

      - Color mode:

Model		Sensitivity

5 MP		0.30 lux (33 ms, F2.0), 0.03 lux (200 ms, F2.0)

5 MP		0.30 lux (33 ms, F2.1), 0.03 lux (200 ms, F2.1)

3 MP		0.25 lux (33 ms, F2.0), 0.036 lux (200 ms, F2.0)

2 MP		0.15 lux (33 ms, F2.1), 0.038 lux (200 ms, F2.1)

2 MP		0.15 lux (33 ms, F2.0), 0.038 lux (200 ms, F2.0)

2 MP		0.15 lux (33 ms, F1.8), 0.038 lux (200 ms, F1.8)

2 MP		0.15 lux (33 ms, F2.0), 0.038 lux (200 ms, F2.0)

1 MP		0.15 lux (33 ms, F2.0), 0.038 lux (200 ms, F2.0)

      - Black & white mode:

Model		Sensitivity

5 MP		0.01 lux (33 ms, F21), 0.002 lux (200 ms, F2.1)

5 MP		0.01 lux (33 ms, F2.0), 0.002 lux (200 ms, F2.0)

3 MP		0.01 lux (33 ms, F2.0), 0.002 lux (200 ms, F2.0)

2 MP		0.01 lux (33 ms, F2.1), 0.002 lux (200 ms, F2.1)

2 MP		0.01 lux (33 ms, F2.0), 0.002 lux (200 ms, F2.0)

2 MP		0.01 lux (33 ms, F1.8), 0.002 lux (200 ms, F1.8)

2 MP		0.01 lux (33 ms, F2.0), 0.002 lux (200 ms, F2.0)

1 MP		0.01 lux (33 ms, F2.0), 0.002 lux (200 ms, F2.0)

    - Scanning:	 Progressive

    - Image Control Settings

      - White Balance range:	2,000º to 10,000ºK

      - IR Illumination: 		850 nm adaptive IR, up to 25 meters

      - Day and night settings

      - Window Blanking:	up to 8 zones of window blanking

      - 3D noise reduction

    - Lens:

      - Built-in, fixed

      - Focal Length:	f/1.8, 4 mm; f/2.0, 6mm; f/2.0, 2.8 mm; f/2.1, 2.4 mm

      - Field of view:

|  | WP133-1ERS 1 MP 2.8 mm | WP233-1ERS 2 MP 2.8 mm | WP333-1ERS 3 MP 2.8 mm | WP533-1ERS 5MP 2.8 mm | WP234-1ERS 2 MP 4 mm | IWP236-1ERS 2 MP 6 mm | IWP232-1ERS 2 MP 2.4 mm | IWP232-1ERS 5 MP 2.4 mm |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Diagonal | 132° | 134° | 124.6° | 129.6° | 104° | 62.8° | 156° | 162° |
| Horizontal | 112° | 113° | 99° | 104.4° | 87.6° | 54.4° | 135° | 130° |
| Vertical | 60° | 61° | 74.2° | 75° | 46.2° | 30.1° | 75° | 93° |

    - Video:

      - The network camera system shall support up to three simultaneous streams; the second stream and third stream are variable based on the setup of the primary stream.

      - Compression type:	H.265, H.264 High or Main profiles; and MJPEG

      - Orientation modes:	Corridor Mode, Mirror Mode, Flip Mode, Electronic Image Rotation 90º,

180º, and 270º

      - Flicker Control:		Selectable 50 Hz or 60 Hz modes

      - Available resolutions:

MP		Width x Height		Aspect Ratio

5.0 		2592 x 1944		4:3

3.7		2560 x 1440		16:9

3.2		2048 x 1536		4:3

3		2304 x 1296		16:9

2.1		1920 x 1080		16:9

1.9		1600 x 1200		4:3

1.2		1280 x 960		4:3

0.9		1280 x 720		16:9

0.5		800 x 600		4:3

0.3		640 x 480		4:3

0.2		640 x 360		16:9

0.1		320 x 240		4:3

0.1		320 x 180		16:9

      - Constant bit rate (CBR), constrained variable bit rate (CVBR) with configurable maximum value.

      - Frame rate:

MP		Images per Second (ips)

5		60, 50, 30, 25, 20, 16.67, 15, 12.5, 10, 7.5, 5, 3, 2, 1

3		30, 25, 20, 16.67, 15, 12.5, 10, 7.5, 5, 3, 2, 1

2		30, 25, 20, 16.67, 15, 12.5, 10, 7.5, 5, 3, 2, 1

1		30, 25, 20, 16.67, 15, 12.5, 10, 7.5, 5, 3, 2, 1

      - ONVIF Profile S, Profile G, Profile Q, and Profile T conformant

      - Sarix Professional range cameras feature the Pro suite of video analytics including Motion Detection, Camera Sabotage, Audio Detection, Object Counting, Adaptive Motion, Object Removal, and Directional Motion.

      - Pelco’s Smart Compression Technology lowers bandwidth and storage requirements by up to 70%. Our technology allows the user to make intelligent decisions regarding storage savings and image quality.

      - Low resolution JPEG stream for configuration of camera settings.

    - Storage and Recording

      - The network camera system control shall have onboard SD card storage.

        - Card type:	Micro SDHC and SDXC

        - Capacity:	up to 2 TB addressable, 128 GB testable

      - The local SD storage shall have the ability to be backed up to alternate media without removal of the SD card from the camera.

      - Local recording on the SD card shall commence upon loss of network connectivity, based on a pre-programmed schedule.

      - The network camera system shall record video continuously in the case of network outage.

      - Alarm recording: The network camera system shall capture selectable 1, 5, or 10 second video clips on camera sabotage, motion detection, or alarm input.

      - Video recording and storage shall support ONVIF profile G.

    - Manual Pan Tilt

      - Pan Range:	±90°

      - Tilt Range:	0°~ –80°

      - Rotate Range:	0 o ~ 355º

    - Simple motion detection and camera sabotage analytics.

  - ADDITIONAL FEATURES

    - Audio – The network camera system shall have bi-directional audio capability.

      - Input: Line level, 3K ohm differential w/ 1Vp-p maximum signal

      - Output: Line level, 600 ohm differential w/1Vp-p

      - Encoding:  G.711 – A-law / U-law

    - Camera Discovery – VX Toolbox

    - System Information

      - The system settings of the network camera system shall be exportable as a separate file.

      - The network camera system shall maintain an accessible log of system and motion-triggered events.

        - The log shall be exportable to an Excel spreadsheet file.

  - NETWORK

    - Connectivity: 10/100 BASE-TX Ethernet with RJ-45 connector

    - Protocols supported

      - Transmission Control Protocol (TCP), Internet Protocol (IP) v4 and v6, User Datagram Protocol (UDP)

      - Configuration: Dynamic Host Configuration Protocol (DHCP)

      - Web services: Hypertext Transfer Protocol (HTTP), Secure HTTP (HTTPS)

      - Network services: Domain Name System (DNS), Network Time Protocol (NTP), Internet Control Message Protocol (ICMP), Simple Network Management Protocol (SNMP) v2c/v3, Universal Plug and Play (UPnP)

      - Media: Real-Time Transport Protocol (RTP), RTP Control Protocol (RTCP), Real-Time Streaming Protocol (RTSP)

      - Multicast: Internet Group Management Protocol (IGMP)

      - Notifications: File Transfer Protocol (FTP), Secure File Transfer Protocol (SFTP). Simple Mail Transfer Protocol (SMTP)

      - Remote Access: Secure Shell (SSH)

      - Security: Secure Sockets Layer (SSL), IEEE 802.1x (EAP-MD5, EAP-TLS, EAP-TTLS, EAP-PEAP and EAP-FAST)

      - DDNS – The network camera system shall support DDNS services offered by the Manufacturer and other publicly available service offerings.

      - Quality of Service (QoS) for Differentiated Services Code Point (DSCP)

      - Session Initiation Protocol (SIP)

      - ARP (Address Resolution Protocol)

      - Web Services Dynamic Discovery (WS-Discovery)

      - NTCIP 1205 (National Transportation Communications for Intelligent Transportation System Protocol)

    - Security

      - The network camera system shall support IP address filtering whereby users can enter a list of allowed or blocked IP addresses for viewing video and configuring camera settings

      - The network camera system shall provide three levels of user access with password protection.

      - Security Access: Password protected, HTTPS, IEEE 802.1X, digest authentication, IP filtering.

    - Users

      - Unicast: Up to 5 simultaneous users depending on resolution settings (3 guaranteed streams)

      - Multicast: Unlimited users H.264/H.265

    - Software Interface: 	Web browser view and setup

  - INTEGRATION

    - The network camera system shall have a built-in web server which supports browser-based configuration.

    - The camera’s web server shall allow access to camera information and all primary software functions.

    - Video Management: 		VideoXpert; VX Toolbox Endura 2.0 (or later); Digital Sentry 7.3

(or later)

    - Open API:				Third-party VMS through Pelco API, ONVIF Profile S, Profile G,

Profile Q, and Profile T

    - Mobile Application:			Pelco Mobile

    - Local Storage: 			Capture 1-, 5- or 10-second video clips on camera sabotage,

motion detection, or alarm input; record video continuously in the case of network outage with option to overwrite; access video through FTP protocol and ONVIF Profile G

    - Camera Discovery:			VX Toolbox

    - Firmware Upgrade:			Web UI or VX Toolbox

    - Web Browser Support:		Microsoft® Internet Explorer® 8.0, Mozilla® Firefox® 3.5,

Google® Chrome™ 61.0 and later

    - Multilingual User Interface:		English, French, German, Italian, Portuguese, Arabic, Russian,

Spanish, Turkish, Korean, Simplified Chinese

  - ELECTRICAL

    - Network Port: 		RJ-45 connector for 10/100Base-TX

    - Power Input:		IEEE802.3af PoE

    - Maximum Power Consumption: 9.6 W

  - MECHANICAL AND ENVIRONMENTAL

    - Construction Material: 	Aluminum; polycarbonate bubble

    - Finish:			RAL 9003

    - Impact Resistance:		IK10 (20J)

    - Dimensions (D x H):  	5.66 cm (2.23 in) x 11.00 cm (4.33 in)

    - Temperature:

      - Operating:		–20° to 55°C (–4° to 131°F)

      - Storage:		-40°C to 70ºC (-40°F to 158ºF)

    - Ingress Protection:	IP66/67, Type 4X

  - CERTIFICATIONS

    - CE – EN 55032 (Class A), EN 50130-4, EN 60950-1

    - FCC (Class A) – 47 CFR Part 15

    - UL and cUL Listed – UL 60950-1, CAN/CSA-C22.2 No. 60950-1-07

    - UL/IEC/EN 60950-22

    - ICES-003 (Class A)

    - RCM

    - KCC

    - NOM

    - EAC

    - BIS

    - ONVIF Profile S, Profile G, Profile Q, and Profile T conformant

    - Type 4X when installed properly

    - IP66/67 when installed properly

    - IEC 60068:2-6 and 2-27

END OF SECTION

- EXECUTION

  - INSTALLERS

    - Contractor personnel shall comply with all applicable state and local licensing requirements.

## PREPARATION

## The network design and configuration shall be verified for compatibility and performance with the camera(s).

## Network configuration shall be tested and qualified by the Contractor prior to camera installation.

  - INSTALLATION

    - Before permanent installation of the system, the Contractor shall test the system in conditions simulating the final installed environment

      - A report indicating successful test results shall be produced.

## Contractor shall follow all Manufacturer-published guidance on proper installation and configuration of the camera.

  - STORAGE

    - The wedge camera hardware shall be stored in an environment where temperature and humidity are in the range specified by the Manufacturer.

END OF SECTION