**A picture containing text, clock, sign

Description automatically generated**

Pelco understands that information is critical to success, which is why we are singularly focused on the development of video surveillance and security solutions that provide you the information necessary to make real-time, business-enabling decisions. From the recently introduced VideoXpert video management platform to our industry-leading selection of IP cameras and accessories, Pelco is committed to designing and delivering a broad range of high-quality, IP video security products and systems complemented with an unparalleled level of customer support and services.

For additional information, contact:

Pelco, Inc.

625 W. Alluvial Ave.

Fresno, CA 93711 USA

Phone: +1 800 289-9100

Web: www.pelco.com

E-mail: sales@pelco.com

**NETWORK PTZ VIDEO CAMERA - ENVIRONMENTAL**

**DIVISION 28 – ELECTRONIC SAFETY AND SECURITY**

**28 20 00 Video Surveillance**

**28 21 00** **Surveillance Cameras**

**28 21 13 IP Cameras**

**Notes to Specifier:**

1. Where several alternative parameters or specifications exist, or where, the specifier has the option of inserting text, such choices are presented in **<bold text>.**

2. Explanatory notes and comments are presented in **colored** text.

**NETWORK PTZ VIDEO CAMERA - ENVIRONMENTAL**

1. **GENERAL**
   1. **SUMMARY**
      1. Section includes a high-speed network PTV video camera, environmentally hardened, for pendant mount.
      2. Product – A 2 MP high-speed network dome camera supporting H.264, H.265, and MJPEG compression, meeting Type 4X, IP66, and IP67 standards.

## Related Requirements

* + - 1. 27 15 00 Communications Horizontal Cabling
      2. 27 20 00 Data Communications
      3. 28 05 00 Common Work Results for Electronic Safety and Security
      4. 28 06 20 Schedules for Video Surveillance
      5. 28 16 15 Access Control Interfaces to Video Surveillance
      6. 28 23 00 Video Management System
      7. 28 31 31.15 Intrusion Detection Interfaces to Video Surveillance
      8. 28 51 15.13 Information Interfaces to Video Surveillance Systems
  1. **REFERENCES**
     1. Abbreviations
        1. API – Applications Programming Interface
        2. CBR – Constant Bit Rate
        3. CVBR – Constrained Variable Bit Rate
        4. DHCP - Dynamic Host Configuration Protocol
        5. DNS - Domain Name Server
        6. EAP – Extensible Authentication Protocol
        7. fps - frames per second
        8. FTP - File Transfer Protocol
        9. HTTP - Hypertext Transfer Protocol
        10. HTTPS – Secure Hypertext Transfer Protocol
        11. IGMP - Internet Group Management Protocol
        12. IP - Internet Protocol
        13. IR – InfraRed
        14. JPEG - Joint Photographic Experts Group
        15. MP - Megapixel
        16. MJPEG - Motion JPEG
        17. NTCIP – National Transportation Communications for ITS Protocol
        18. NTP - Network Time Protocol
        19. PoE - Power over Ethernet
        20. QoS – Quality of Service
        21. RTP - Real-Time Transport Protocol
        22. RTSP - Real-Time Streaming Protocol
        23. SMTP - Simple Mail Transfer Protocol
        24. SNMP – Simple Network Management Protocol
        25. SNR – Signal to Noise ratio
        26. SSH –Secure Shell
        27. SSL – Secure Sockets Layer
        28. TLS – Transport Layer Security
        29. TCP - Transmission Control Protocol
        30. UDP - User Datagram Protocol
        31. UPnP – Universal Plug and Play
        32. VMS - Video Management System
        33. WDR – Wide Dynamic Range
     2. Reference Standards
        1. Network
           1. IEEE

802.3 Ethernet Standards

802.1x – Port-based authentication

* + - 1. Video
         1. ITU H.265
         2. ISO / IEC 14496 –10, MPEG-4 Part 10 (ITU H.264)
         3. ISO / IEC 10918 – JPEG
         4. NTCIP 1205 – Object Definitions for Closed Circuit Television (CCTV) Control
         5. ONVIF – Profile S, Profile G, Profile T
      2. Emissions
         1. FCC (Class A) – 47 CFR Part 15
         2. CE – EN 55032 (Class A), EN 50130-4, EN 60950-1, EN 60950-22, EN 62368-1
         3. ICES-003, Class A
      3. Environmental
         1. ANSI / IEC 60529 – Degrees of Protection Provided by Enclosures – IP66, 67
         2. IK10 (20J) Impact Resistance / IEC 62262
         3. UL 50E, Type 4X Enclosure Definition
  1. **SUBMITTALS**
     1. Informational Submittals
        1. Product Data
           1. Manufacturer’s printed or electronic data sheets
           2. Manufacturer’s installation and operation manuals
           3. Warranty documentation
        2. Password assignment plan
        3. Manufacturers Cyber Hardening Guidelines.
        4. Shop Drawings
     2. Closeout Submittals
        1. Final listing of devices and settings
        2. System test results
        3. Statement of compliance with Manufacturer Cyber Hardening Guidelines.
  2. **QUALIFICATIONS**
     1. Manufacturer shall have a minimum of five years’ experience in producing IP video equipment.
     2. Installers shall be trained and authorized by the Manufacturer to install, integrate, test, and commission the system.
  3. **DELIVERY, STORAGE AND HANDLING**
     1. Deliver the camera in the manufacturer’s original, unopened, undamaged container with identification labels intact.
     2. Store the camera in a temperature environment protected from mechanical and environmental conditions as designated by the manufacturer.
  4. **WARRANTY AND SUPPORT**
     1. Manufacturer shall provide a limited 5-year warranty for the product to be free of defects in material and workmanship.

END OF SECTION

1. **PRODUCTS**
   1. **EQUIPMENT**
      1. Manufacturer: Pelco, Inc.

625 W. Alluvial

Fresno, CA 93711 USA

Phone: +1 800 289-99100

Web: www.pelco.com

E-mail: [sales@pelco.com](mailto:sales@pelco.com)

* + 1. Product Models:
       1. Pendant: S7230L-PW, (white, RAL 9003, back box), 2 MP 30X, Spectra Enhanced 7 IR

Look-Up PTZ

* 1. **GENERAL DESCRIPTION**
     1. The network PTZ camera Spectra Enhanced 7 IR Look-up shall be an environmentally hardened with 2 MP (1920 x 1080) resolution, designed for pendant mounting.
     2. The camera shall possess the following primary characteristics:
        1. –51° to 60°C (–60° to 140°F) sustained operating temperature
        2. Integral heater and blower
        3. H.265 Main, H.264 High or Main profiles, and MJPEG compression
        4. Three independent IP video streams
        5. Electronic image stabilization with gyro
        6. Pan and tilt
           1. speeds to 450 degrees per second
           2. closed loop direct drive mechanism
        7. Day/night operation with IR cut filter
        8. Wide Dynamic Range: up to 130 dB
        9. Selectable 3D noise filtering
        10. Power
            1. POE IEEE 802.3bt; 24 VAC; or 48 VDC
            2. power redundancy with PoE and external voltage
        11. Analytics options:
            1. camera sabotage
            2. region-based simple motion detection
            3. abandoned object
            4. adaptive motion
            5. autotracker
            6. directional motion
            7. loitering detection
            8. object counting
            9. object removal
            10. stopped vehicle
        12. Three automatic defog options
        13. Up to 16 window blanking privacy zones
        14. Up to 5 White Balance modes
        15. Multicast capable with unlimited H.264/H.265 viewers
        16. Unicast capable with 2 guaranteed and up to 20 simultaneous viewers
        17. Local SD storage via Micro SD, SDHC or SDXC card, up to 2 TB
        18. Alarm inputs and outputs
  2. **VIDEO/CAMERA**
     1. Imaging Device: 1/2.8 inch
     2. Imager Type: CMOS
     3. Zoom
        1. Optical: 30X
        2. Digital: 12X
     4. Electronic Shutter Range: 1/10,000 to 1 sec
     5. Minimum illumination @ 33 (250) msec:
        1. Color mode: 0.035 (0.00375) lux
        2. Black & white mode: 0.0195 (0.0024) lux
     6. Scanning: Progressive
     7. Image Control Settings
        1. White balance range: 2,000º to 10,000ºK (5 modes)
        2. Privacy zone definition: up to 16 configurable windows of blanking
     8. Lens:
        1. Built-in, varifocal
        2. Focal Length: f/1.6 – f/4.7, 4.3 mm (wide) – 129.0 mm (tele)
        3. Zoom: Remote motorized
        4. Iris: Auto-Iris with manual override
        5. Field of view: 59.8º (wide) – 2.3º (tele)
     9. Video:
        1. Streams: Up to three simultaneous

The second and third streams are variable, based on the setup of the primary stream.

* + - 1. Compression type: H.265 Main, H.264 High or Main profiles; and MJPEG
      2. Available resolutions: 1920 x 1080 to 640 x 360
      3. Bit rate control options:
         1. constant bit rate (CBR)
         2. constrained variable bit rate (CVBR) with configurable maximum value
      4. Frame rate: 1 to 60 fps

Available frame rate dependent upon encoding, resolution, and stream configuration.

* + - 1. ONVIF: Profile S, Profile G, and Profile T conformant
      2. The camera shall provide two basic and eight enhanced user-configurable behaviors, allowing for the set-up of different scenarios for each behavior.

See section 2.02 B 10 for list of supported analytics

* + - 1. The camera shall employ intelligent compression technology to reduce bandwidth and storage requirements, including a mechanism to reduce I-frames in scenes with little motion.
      2. Low resolution JPEG stream for configuration of camera settings.
    1. Storage and Recording
       1. Local SD storage
          1. via Micro SD, SDHC or SDXC card
          2. up to 2 TB
          3. ability to be backed up to alternate media without removal of the SD card from the camera
          4. Local recording shall commence upon loss of network connectivity, continuously or based upon a pre-programmed schedule, with option to overwrite; access video through FTP protocol and ONVIF Profile G.
       2. Alarm recording: The camera shall capture selectable 1, 5, or 10 second video clips on camera sabotage, motion detection, or alarm input.
    2. Pan-Tilt
       1. Pan
          1. Manual pan speed: variable, .001° to 100°/sec
          2. Maximum speed: 450°/sec (presets)
       2. Tilt
          1. Vertical tilt: 30° to -90°
          2. Manual tilt speed: variable, .05° to 50°/sec
          3. Maximum speed: 320°/sec (presets)
    3. Presets
       1. Number: 256
       2. Accuracy: +/- .03°
       3. Tours: 32
  1. **ADDITIONAL FEATURES**
     1. Alarm: Unsupervised detection of open or closed alarm state, supervised detection of open and

short alarm state with external 1-kohm resistor

* + - 1. Inputs (4): 3.5 VDC, 3.5 mA maximum
      2. Outputs (2): Relay, +/- 32 VDC, 150 mA maximum
    1. Audio: Bidirectional
       1. Full or half duplex
       2. Input/Output: Line level; 3-kohm differential impedance, 1Vp-p maximum signal level / Line

Level; 600-ohm differential impedance, 1Vp-p maximum signal level

* + - 1. Streaming: embedded audio
    1. System Information
       1. The system settings of the camera shall be exportable as a separate file.
       2. The camera shall maintain an accessible system log.
    2. Configurable Scans: 8
    3. Recordable patterns: 8 (up to 5 minutes each)
    4. “Auto Flip” feature rotates dome 180° at bottom of tilt travel
    5. Configurable park with actions
    6. Proportional pan/tilt continually decreases pan/tilt speeds in proportion to depth of zoom
  1. **NETWORK**
     1. Connectivity:
        1. 100Base-TX and 1000Base-TX Ethernet with RJ-45 connector and Auto MDI/MDI-X Negotiation
        2. Pelco FSFP Series transceivers and third-party MSA compliant transceivers
     2. Protocols supported
        1. Transmission Control Protocol (TCP), Internet Protocol (IP) v4 and v6, User Datagram Protocol (UDP)
        2. Configuration: Dynamic Host Configuration Protocol (DHCP)
        3. Web services: Hypertext Transfer Protocol (HTTP), Secure HTTP (HTTPS)
        4. Network services: Domain Name System (DNS), Network Time Protocol (NTP), Simple Network Management Protocol (SNMP) v2c/v3, Universal Plug and Play (UPnP)
        5. Media: Real-Time Transport Protocol (RTP), Real-Time Streaming Protocol (RTSP)
        6. Multicast: Internet Group Management Protocol (IGMP)
        7. Notifications: File Transfer Protocol (FTP), Simple Mail Transfer Protocol (SMTP)
        8. Secure Sockets Layer (SSL)/Transport Layer Security (TLS), IEEE 802.1x (EAP)
        9. Quality of Service (QoS) for Differentiated Services Code Point (DSCP)
        10. NTCIP 1205 (National Transportation Communications for Intelligent Transportation System Protocol)
        11. Internet Protocol version 4 (IPv4)
        12. Internet Protocol version 6 (IPv6)
        13. Secure Shell Protocol (SSH)
     3. Security
        1. Support IP address filtering whereby users can enter a list of allowed or blocked IP addresses for viewing video and configuring camera settings
        2. Support principle of least privilege with four levels of user access with password protection.
        3. Security Access: Password protection, HTTPS, IEEE 802.1X, digest authentication, IP filtering
        4. Support confidentiality—HTTPS uses TLS-based encryption configured for strong cipher suites. Support for either self-signed or external PKI signed digital certificates.
     4. Users
        1. Unicast: 2 guaranteed

Up to 20 simultaneous users depending on resolution settings

* + - 1. Multicast: Unlimited users H.264/H.265
    1. Software Interface: Web browser view and setup
  1. **INTEGRATION AND INTERFACE**
     1. Pelco: VideoXpert; Endura 2.0 (or later); Digital Sentry 7.3 (or later),

Pelco Mobile Application

* + 1. Open API: Third-party VMS through Pelco API, ONVIF Profile S, Profile G,

Profile T

* + 1. Camera Discovery: VX Toolbox
    2. Firmware Upgrade: Web UI or VX Toolbox
    3. Multilingual User Interface: English, French, German, Italian, Portuguese, Russian,

Spanish, Turkish, Korean, Simplified Chinese

* 1. **ELECTRICAL**
     1. Power Input:
        1. 24 VAC
        2. 48 VDC
        3. IEEE 802.3bt PoE
     2. Failover – The camera, if powered by both PoE and external AC or DC power, shall not reboot or change functionality upon loss or recycle one out of two power sources.
     3. Maximum Power Consumption:
        1. 24 VAC: 1 A (20 VA) without heaters and IR. Pan and tilt inactive. 2 A (40 VA) without

heaters and IR, pan and tilt active. 4.3 A (85 VA) maximum with heaters, IR, and

pan/tilt active.

* + - 1. 48 VDC: 0.5 A (20 W) without heaters and IR. Pan and tilt inactive. 1 A (40 W) without

heaters and IR. Pan and tilt active. 1.9 A (85 W) maximum with heaters, IR, and

pan and tilt active.

* + - 1. PoE (802.3bt): 0.5 A (20 W) without heaters and IR. Pan and tilt inactive. 0.9 A (40 W) without

heaters and IR, pan and tilt active. 1.3 A (71 W) maximum with heaters, IR, and

pan and tilt active.

* 1. **MECHANICAL AND ENVIRONMENTAL**
     1. Construction Material: Aluminum construction
     2. Color options: Available in white finish (RAL9003)
     3. Impact Resistance: IK10 rated housing and window
     4. Wind resistance:  Full Motion Control at 0 to 43 knots (50 mph/81 kmh)
     5. Dimensions (D x H): 208 mm (8,19 in) x 384.6 mm (15.14 in)
     6. Cable Entry:
        1. Pendant: Through 1.5 inch NPT pendant mount
     7. Temperature:
        1. Operating: –51° to 60°C (–60° to 140°F)
        2. Storage: -20°C to 60ºC (-4°F to 140ºF)
        3. Cold Start -40°C (-40°F)
        4. Ice Free: -35°C (-31°F)
     8. Operating Humidity: 10 to 100% RH
     9. Ingress Protection: IP66, IP67, Type 4X
     10. Mounting: Pendant

Pendant mount options include wall mount, parapet wall/roof mount, compact wall mount.

See Section 2.01 B for model number.

END OF SECTION

1. **EXECUTION**
   1. **INSTALLERS**
      1. Contractor personnel shall comply with all applicable state and local licensing requirements.
   2. **PREPARATION**
      1. The network design and configuration shall be verified for compatibility and performance with the camera(s).
      2. Network configuration shall be tested and qualified by the Contractor prior to camera installation.
      3. Before permanent installation of the system, the Contractor shall test and quality the system in conditions simulating the final installed environment.
   3. **INSTALLATION**
      1. The contractor shall follow all Manufacturer-published guidance on proper installation, configuration and cyber hardening of the installed cameras.
      2. The Contractor shall test the system in conditions simulating the final installed environment
      3. Reports:
         1. System test results
         2. System network addressing and device settings
   4. **STORAGE**
      1. Products shall be stored in an environment where temperature and humidity are in the range specified by the Manufacturer.

END OF SECTION